PRODUCT REQUIREMENTS DOCUMENT AI for Smart Meter Intelligence & Loss Detection Bangalore Electricity Supply Company Limited (BESCOM)

| Version 1.0 | Status Draft | Date May 2026 | Classification Confidential |
| --- | --- | --- | --- |

# Table of Contents

1.  Executive Summary	3

2.  Problem Statement & Context	4

3.  Goals & Success Criteria	5

4.  System Overview & Architecture	6

5.  Part A — Localized Demand Prediction	8

6.  Part B — Anomaly & Theft Detection	10

7.  Data Strategy	12

8.  Explainability & Auditability	13

9.  Non-Negotiables & Constraints	14

10.  Evaluation Framework & Baselines	15

11.  Risk Management	16

12.  Implementation Roadmap	17

13.  Roles & Responsibilities	18

14.  Appendix	19

# 1. Executive Summary

BESCOM operates one of India's largest electricity distribution networks, serving over 8 million consumers across Bengaluru and five surrounding districts. The deployment of smart meters across urban zones has created an unprecedented stream of high-frequency consumption data—yet this data remains largely underutilised for proactive grid management.

This Product Requirements Document (PRD) defines the scope, architecture, features, and success criteria for an AI-based decision-support system that transforms raw smart meter readings into two categories of actionable intelligence:

- Localized Demand Prediction — Short-term (hourly and day-ahead) demand forecasts per feeder and locality, with automated risk classification for grid stress zones.

- Anomaly & Theft Detection — Systematic identification of abnormal consumption patterns, suspected tampering, and meter irregularities, with explainable confidence scores and false-positive controls.

The system is designed as a non-invasive decision-support overlay. It does not modify any existing BESCOM systems, does not require internet-connected LLM inference on sensitive data, and produces outputs that are fully explainable and auditable by field engineers and analysts.

Expected Outcomes 15–25% reduction in unplanned grid interventions · 30%+ improvement in theft/tamper detection rate vs. manual audits · Demand forecast MAPE < 8% at feeder level · False positive rate on anomaly flags < 10%

# 2. Problem Statement & Context

## 2.1 Background

BESCOM distributes electricity to approximately 22,000 sq km across Bengaluru Urban, Bengaluru Rural, Chikkaballapura, Kolar, Ramanagara, and Tumkur districts. Smart meters—deployed at household, commercial, and feeder levels—generate 15-minute interval data, producing millions of data points per day.

## 2.2 Current Challenges

| Challenge Area | Current State | Business Impact |
| --- | --- | --- |
| Demand Forecasting | Manual, aggregate-level estimates; no feeder-level granularity | Grid stress, transformer overloads, unplanned outages |
| Peak Load Management | Reactive load shedding based on real-time overload signals | Consumer dissatisfaction, equipment damage |
| Theft & Tamper Detection | Periodic manual audits; no systematic pattern analysis | Rs. 300–500 Cr annual estimated AT&C losses |
| Anomaly Identification | Ad-hoc billing complaints as primary signal | Revenue leakage, delayed intervention |
| Data Utilisation | Smart meter data stored but not systematically analysed | Missed intelligence from existing infrastructure investment |

## 2.3 Stakeholders

- BESCOM Distribution Operations Team — Primary users of demand forecasts and risk zone alerts

- Revenue Protection & Vigilance Teams — Primary users of anomaly and theft detection outputs

- BESCOM IT / Data Engineering — System integration and data pipeline owners

- Field Engineers & Inspectors — Consumers of actionable inspection work orders

- BESCOM Senior Management — Oversight, reporting, and KPI monitoring

- Regulatory Bodies (KERC) — Compliance and auditability requirements

# 3. Goals & Success Criteria

## 3.1 Primary Goals

- Enable accurate, localized, short-term electricity demand forecasting at the feeder and locality level.

- Automate identification of high-risk zones for grid stress and peak load events before they occur.

- Detect anomalous consumption patterns that are indicative of theft, tampering, or meter malfunction.

- Deliver explainable, auditable, and actionable outputs that support field decisions without replacing human judgment.

- Minimise false positives to preserve field team trust and operational efficiency.

## 3.2 Success Metrics

| Metric | Definition | Target | Measurement |
| --- | --- | --- | --- |
| Demand Forecast MAPE | Mean Absolute Percentage Error at feeder level, hourly | < 8% | Weekly backtesting |
| Day-Ahead Forecast MAPE | 24-hour ahead feeder-level demand forecast error | < 12% | Daily validation |
| Anomaly Precision | Flagged anomalies confirmed as genuine on inspection | > 70% | Inspection outcomes |
| Anomaly Recall | Proportion of actual theft/tamper cases caught | > 80% | Post-audit review |
| False Positive Rate | Proportion of flags cleared on inspection | < 10% | Field team reports |
| Zone Risk Accuracy | High-risk zones experiencing actual stress events | > 85% | Event logs |
| System Availability | Uptime of decision-support dashboard | > 99.5% | Monitoring logs |
| Explainability Coverage | Flags with human-readable reasoning | 100% | Audit spot-check |

## 3.3 Out of Scope

- Direct control of switches, relays, or grid hardware

- Consumer billing system modification

- Real-time LLM inference on raw meter data

- Any integration that modifies existing SCADA or MDM systems

# 4. System Overview & Architecture

## 4.1 Design Philosophy

The system is a read-only, non-invasive intelligence layer sitting alongside existing BESCOM infrastructure. It ingests data from smart meters and feeder systems, runs analytical and ML pipelines in an isolated environment, and surfaces insights through a dedicated dashboard and alert mechanism. No write-back to operational systems occurs.

## 4.2 High-Level Architecture

ARCHITECTURE LAYERS (Top → Bottom) [ Layer 5 ] Presentation Layer — Operator Dashboard · Alert Console · Audit Log · Export API ↑ [ Layer 4 ] Intelligence Layer — Demand Forecasting Engine · Anomaly Detection Engine · Explainability Module ↑ [ Layer 3 ] Feature Engineering Layer — Time-Series Features · Peer Groupings · Weather Proxy Features · Seasonality Decomposition ↑ [ Layer 2 ] Data Processing Layer — Ingestion · Validation · Gap Filling · Normalisation · Masking ↑ [ Layer 1 ] Data Sources — Smart Meter MDM · Feeder SCADA · Historical Billing · Calendar & Holiday Data

## 4.3 Component Summary

| Component | Responsibility | Technology Options |
| --- | --- | --- |
| Data Ingestion | Periodic pull from MDM / batch file; no live SCADA write-back | Python, Apache Airflow / cron |
| Data Store | Time-series optimised storage for meter readings and derived features | TimescaleDB / ClickHouse |
| Feature Store | Precomputed features for model training and inference | Parquet / Redis |
| Demand Model | SARIMA + gradient boosting ensemble for hourly and day-ahead forecasts | Prophet, XGBoost, LightGBM |
| Anomaly Engine | Isolation Forest + LSTM autoencoder for unsupervised anomaly scoring | scikit-learn, PyTorch |
| Explainability | SHAP values for model outputs; rule-based narratives for alerts | SHAP, custom rule engine |
| Dashboard | Operator-facing web UI with maps, charts, alert queue | React + Leaflet / Grafana |
| Alert Engine | Threshold-based escalation and notification routing | Python, email / SMS gateway |

# 5. Part A — Localized Demand Prediction

## 5.1 Feature Description

The demand prediction module produces short-term electricity demand forecasts at the feeder and locality level, supporting proactive load management by BESCOM operations teams.

## 5.2 Forecasting Horizons

- Hourly (T+1 to T+6): Near-term operational dispatch support

- Day-Ahead (T+24): Next-day planning and preventive maintenance scheduling

- Week-Ahead Indicative (T+168): Trend visibility for capacity planning (lower precision target)

## 5.3 Granularity

- Feeder level: Primary prediction unit — aligns with physical grid management boundaries

- Locality / ward aggregation: Rollup view for operations managers

- Zone-level risk heatmap: Geographic risk visualisation updated every 15 minutes

## 5.4 Model Approach

### 5.4.1 Baseline Models (Required for Evaluation)

- Naive Historical Average: Same hour, same day-of-week, rolling 4-week window

- SARIMA: Handles weekly and daily seasonality with auto-fitted AR/MA parameters

- These baselines establish the minimum performance threshold all ML models must exceed

### 5.4.2 Primary ML Models

| Model | Strengths in this Context | Deployment Use |
| --- | --- | --- |
| Facebook Prophet | Automatic seasonality, holiday effects, trend changepoints; interpretable components | Day-ahead and week-ahead forecasting |
| XGBoost / LightGBM | Handles complex non-linear patterns; feature importance via SHAP; fast inference | Hourly T+1 to T+6 forecasting |
| LSTM Recurrent NN | Captures long-range temporal dependencies; strong on recurring demand cycles | Ensemble component; validation model |
| Ensemble Combiner | Weighted average of prophet + GBDT outputs; weights tuned per feeder type | Final production forecast |

## 5.5 Input Features

| Feature Category | Specific Features | Source |
| --- | --- | --- |
| Temporal | Hour of day, day of week, month, quarter, public holiday flag, festival proximity | Derived + Calendar API |
| Historical Demand | Lag features: T-1h, T-24h, T-168h; rolling mean/std (7d, 30d) | Smart Meter MDM |
| Seasonality Components | STL decomposition: trend, seasonal, residual per feeder | Derived from MDM |
| Consumer Mix | Ratio of residential : commercial : industrial consumers per feeder | Billing / GIS data |
| Weather Proxy | Season flag, weekday vs weekend interaction, summer indicator | Derived (no external API) |
| Peer Feeder Signal | Rolling average of geographically adjacent feeders | Derived from MDM |

## 5.6 Zone Risk Classification

Each feeder is assigned a risk level at each forecast horizon based on predicted load versus historical transformer capacity thresholds:

| Risk Level | Trigger Condition | Recommended Action | Alert |
| --- | --- | --- | --- |
| 🟢 Normal | < 75% of rated capacity | No action | None |
| 🟡 Elevated | 75–89% of rated capacity | Monitor; prep load shedding plan | Dashboard flag |
| 🟠 High | 90–99% of rated capacity | Initiate load rebalancing | Email to ops team |
| 🔴 Critical | ≥ 100% or forecasted overload | Immediate intervention | SMS + Dashboard |

# 6. Part B — Anomaly & Theft Detection

## 6.1 Feature Description

The anomaly detection module continuously monitors smart meter data to identify consumption patterns that deviate from expected behaviour. It generates risk-scored alerts for potential theft, tampering, meter malfunction, or other irregularities, with full reasoning trails for field investigation.

## 6.2 Anomaly Taxonomy

| Anomaly Type | Signal Pattern | Risk Category | Likely Cause |
| --- | --- | --- | --- |
| Sudden Sustained Drop | Consumption drops ≥ 60% vs 30-day baseline for ≥ 3 intervals | High | Meter bypass / illegal diversion |
| Irregular Periodicity | Loss of regular daily/weekly cycle; consumption becomes flat or erratic | High | Meter tampering, CT ratio manipulation |
| Peer Deviation | Meter consumes 50%+ below peer cluster average for similar consumer type | Medium–High | Theft via direct connection upstream |
| Impossible Readings | Zero consumption for occupied commercial premises; negative values | High | Meter malfunction or data manipulation |
| Night Usage Spike | Significant consumption surge between 0100–0400 hrs on multiple days | Medium | Unauthorised commercial use at odd hours |
| Seasonal Non-Conformity | No expected rise in summer (Apr–Jun) for AC-category consumers | Medium | Meter tamper; load diversion |
| Gradual Drift | Slow, monotonic consumption decline over 8+ weeks vs peer trend | Low–Medium | Tamper; meter aging |

## 6.3 Detection Methodology

### 6.3.1 Statistical Baselines

- Z-score anomaly detection on rolling 30-day windows per meter

- Seasonal-Trend decomposition (STL): Flag residuals beyond 3-sigma threshold

- IQR-based outlier detection per consumer category peer group

### 6.3.2 Machine Learning Models

- Isolation Forest: Unsupervised anomaly scoring on multivariate consumption features; no labelled data required for initial deployment

- LSTM Autoencoder: Trained to reconstruct normal consumption patterns; high reconstruction error = anomaly flag

- Peer Clustering (K-Means): Group meters by consumer type, size, and location; flag meters with statistically anomalous peer deviation

### 6.3.3 Rule-Based Layer

A hard-coded rule engine runs in parallel with ML models. Rules are auditable, deterministic, and take precedence over probabilistic ML scores for high-certainty patterns. Examples:

- IF consumption < 5% of 90-day median for 5+ consecutive days AND meter is commercial category THEN flag as Critical

- IF delta between DT output and sum of downstream meter readings > 15% THEN flag feeder for aggregate loss investigation

- IF meter reads identical values for 48+ consecutive intervals THEN flag as meter freeze / malfunction

## 6.4 Scoring & Prioritisation

Each anomaly flag receives a composite risk score (0–100) combining:

- Statistical severity: How far the pattern deviates from expected (40% weight)

- Pattern consistency: How persistently the anomaly appears (30% weight)

- Peer comparison: Degree of divergence from similar meters (20% weight)

- Consumer risk profile: Historical flags, location, consumer category (10% weight)

False Positive Control All flags with score < 60 are held in a 'Review Queue' rather than sent as active alerts. Score ≥ 60 triggers a dashboard alert. Score ≥ 80 triggers SMS escalation to field supervisor. This staged threshold prevents field team alert fatigue.

# 7. Data Strategy

## 7.1 Input Data Requirements

| Data Type | Granularity | History Required | Priority |
| --- | --- | --- | --- |
| Meter consumption readings | 15-minute intervals | 24 months minimum | Critical |
| Feeder / DT aggregate load | 15-minute intervals | 24 months minimum | Critical |
| Consumer metadata | Static (with updates) | Current snapshot | Critical |
| Billing & payment history | Monthly | 12 months | High |
| Public holiday calendar | Daily | Current + 1yr forward | Medium |
| Historical inspection outcomes | Event-level | All available | Medium |
| GIS / geographic data | Static | Current snapshot | Medium |

## 7.2 Data Quality Handling

### 7.2.1 Missing Data

- Gap < 2 intervals (30 min): Linear interpolation

- Gap 2–8 intervals (2 hrs): Forward-fill with seasonal adjustment using same-hour prior week average

- Gap > 8 intervals: Mark as unreliable; exclude from training window; flag meter for maintenance

### 7.2.2 Noise & Outliers

- Hampel filter applied to raw readings to suppress transient spikes before feature engineering

- Readings > 5 standard deviations from 7-day rolling mean are soft-flagged and logged, not silently removed

### 7.2.3 Seasonality

- All models incorporate explicit seasonality components: daily (24-period), weekly (168-period), annual

- Bengaluru-specific patterns accounted for: summer cooling peaks (Apr–Jun), festival demand spikes (Diwali, Ugadi, Ganesh Chaturthi)

## 7.3 Privacy & Data Masking

Data Protection Protocol All consumer-identifiable information (name, address, account number) is masked or pseudonymised before entering the analytical pipeline. The AI system operates exclusively on meter IDs, geographic zone codes, and consumption values. Re-identification mapping is maintained by BESCOM IT with access-controlled separation.

# 8. Explainability & Auditability

## 8.1 Explainability Requirements

Every system output — whether a demand forecast or an anomaly alert — must be accompanied by a human-readable explanation that a non-technical BESCOM officer can interpret and act upon.

## 8.2 Demand Forecast Explanations

- Decomposed forecast chart: Shows trend, seasonal, and residual components separately

- Top contributing features: SHAP waterfall chart showing which features drove the forecast

- Confidence interval: 80% and 95% prediction intervals shown on all forecast outputs

- Baseline comparison: Every forecast shown alongside the naive historical average baseline

## 8.3 Anomaly Alert Explanations

Each anomaly flag includes a structured explanation card:

| Field | Content |
| --- | --- |
| Anomaly Type | Plain-language category (e.g., 'Sustained Consumption Drop') |
| Detection Trigger | Which rule or model generated the flag, and why |
| Key Evidence | Specific intervals, values, and deviations from baseline |
| Peer Comparison | How this meter compares to the top 3 most similar peers |
| Risk Score | 0–100 composite score with component breakdown |
| Recommended Action | Suggested field action (inspect meter, verify connection, etc.) |
| Supporting Charts | Time-series chart of the anomalous period with reference bands |

## 8.4 Audit Trail

- Every model run, feature batch, and alert generation is logged with timestamp, model version, and input data hash

- All analyst actions on alerts (confirm, dismiss, escalate) are logged with user ID and timestamp

- Model retraining events are versioned; previous model versions retained for 12 months for comparison

- Audit logs are write-once, stored separately from operational data, and accessible to KERC on request

# 9. Non-Negotiables & Constraints

| Constraint | Implementation Approach | Verification |
| --- | --- | --- |
| No modification to existing systems | Read-only data access via secure batch export or API; no write-back connections | Architecture review |
| Decision-support layer only | All outputs are recommendations; no automated control actions | Design specification |
| No hosted LLM on sensitive data | All ML models run on-premise or in BESCOM-controlled private cloud; no data sent to external LLM APIs | Network audit |
| Masked / synthetic data in dev | Development and testing use synthetic data generated from real statistical distributions; no real consumer data outside production | Data governance audit |
| Explainable outputs | SHAP values for all ML predictions; rule-based narrative for all alerts; mandatory explanation card format | QA on every release |
| False positive visibility | FP rate tracked as a primary KPI; review queue for sub-threshold flags; FP feedback loop from field teams | Monthly KPI report |
| Auditability | Immutable audit log for all model decisions and analyst actions | Log review |

# 10. Evaluation Framework & Baselines

## 10.1 Demand Forecasting Evaluation

| Metric | Formula / Definition | Baseline Target |
| --- | --- | --- |
| MAPE | Mean ¦Actual – Forecast¦ / Actual × 100% | Naive avg: ~15%; ML target: < 8% |
| RMSE | Root mean squared error (absolute scale) | Track per feeder class |
| Peak Capture Rate | % of actual peak hours forecast within top-10% predicted demand | > 85% |
| Risk Zone Accuracy | % of Critical/High zones that experienced actual stress events | > 85% |
| Forecast Bias | Mean (Actual – Forecast); should be near zero | ¦ Bias ¦ < 2% |

## 10.2 Anomaly Detection Evaluation

| Metric | Definition | Target |
| --- | --- | --- |
| Precision | Confirmed anomalies / Total flags raised | > 70% |
| Recall | Confirmed anomalies caught / Total confirmed anomalies | > 80% |
| F1 Score | Harmonic mean of Precision and Recall | > 0.74 |
| False Positive Rate | Flags cleared on inspection / Total flags | < 10% |
| Mean Time to Flag | Avg days from anomaly onset to system flag | < 3 days |

## 10.3 Evaluation Methodology

- Walk-forward cross-validation: Train on months 1–18, validate on months 19–21, test on months 22–24

- Stratified evaluation by feeder type (residential, commercial, industrial, mixed)

- Seasonal hold-out: Separate evaluation on summer peak season (Apr–Jun) and festival periods

- Baseline comparison mandatory: All model results reported alongside naive historical average

# 11. Risk Management

| Risk | Likelihood | Impact | Mitigation |
| --- | --- | --- | --- |
| High false positive rate eroding field team trust | Medium | High | Staged alert thresholds; review queue for uncertain flags; monthly FP KPI review; feedback loop from field teams |
| Poor data quality from legacy meters | High | High | Robust gap-filling pipeline; data quality scoring per meter; exclusion of chronically poor meters from ML training |
| Model drift over time (demand patterns shift) | Medium | Medium | Monthly automated retraining; performance drift alerts; champion-challenger model comparison |
| Adversarial circumvention of theft detection | Low–Medium | High | Ensemble of independent methods; periodic rule updates; human-in-loop review for high-value cases |
| Data privacy breach | Low | Critical | Consumer ID masking at ingestion; access control; network isolation; audit logs |
| Insufficient historical data for new feeders | Medium | Medium | Cold-start protocol: use synthetic peers + geographic cluster averages until 6 months of data accumulated |
| Regulatory non-compliance (KERC) | Low | High | Audit trail; explainable outputs; no automated enforcement; documentation of all model decisions |

# 12. Implementation Roadmap

## Phase 1 — Foundation (Months 1–3)

Goal Establish data pipeline, baseline models, and pilot on 2–3 feeders in one locality

- Data audit: Assess meter data quality, coverage, and historical depth across all feeders

- Data pipeline: Build ingestion, validation, gap-filling, and feature engineering pipeline

- Baseline models: Deploy naive historical average and SARIMA forecasting; establish benchmark

- Synthetic data: Generate masked/synthetic dataset for development and testing

- Pilot anomaly rules: Deploy rule-based anomaly detection on pilot feeder group

- Dashboard MVP: Basic operator-facing dashboard with forecast charts and alert list

## Phase 2 — ML Models & Expansion (Months 4–7)

Goal Deploy ML forecasting and unsupervised anomaly detection; expand to 10+ feeders across 3 localities

- Train and validate XGBoost/LightGBM demand forecasting models; compare to baselines

- Deploy Isolation Forest anomaly scoring with peer clustering

- Integrate SHAP explainability into dashboard alert cards

- Implement false positive tracking and field feedback mechanism

- Conduct field team training on dashboard and alert interpretation

- Define retraining schedule and model versioning protocol

## Phase 3 — Scale & Optimise (Months 8–12)

Goal Full production deployment across all priority feeders; LSTM models; continuous improvement loop

- Scale to all priority feeders across BESCOM service territory

- Deploy LSTM autoencoder for sophisticated anomaly patterns

- Automated monthly model retraining with drift detection

- Integration with BESCOM inspection workflow (work order generation from high-score alerts)

- Performance review against success metrics; adjust thresholds based on 6 months of field feedback

- Documentation and knowledge transfer to BESCOM internal team

# 13. Roles & Responsibilities

| Role | Responsibilities |
| --- | --- |
| Product Owner (BESCOM) | Define business priorities; accept/reject features; approve success criteria; escalation authority |
| Data Engineering Lead | Own data pipeline; ensure data quality SLAs; manage MDM integration; data governance |
| ML Engineering Lead | Model development, training, and deployment; performance monitoring; retraining protocols |
| Operations Analyst (BESCOM) | Primary dashboard user; provide feedback on forecasts; escalate field outcomes |
| Revenue Protection Officer | Review anomaly alerts; confirm or dismiss flags; provide ground-truth for model tuning |
| Field Engineer | Execute inspections based on work orders; log inspection outcomes; report data quality issues |
| IT / Security (BESCOM) | Manage system access controls; audit log integrity; network isolation; infrastructure oversight |

# 14. Appendix

## A. Sample Scenario Walkthrough

The following illustrates how the system handles the sample scenario described in the brief:

### Scenario 1: Cluster with Sharp Evening Peaks

- Data observed: 5 feeders in Jayanagar show consumption rising from 2.1 MW (6 PM) to 3.8 MW (8 PM) — 81% above daytime average — on weekday evenings in April

- System action: Day-ahead forecast predicts similar peak for tomorrow; feeders classified as 'High' risk (90–99% transformer capacity); dashboard alert sent to operations team at 2 PM

- Output: 'Feeder JYN-04 forecast to reach 92% rated capacity (3.72 MW) at 8 PM tomorrow. Historical pattern consistent with summer cooling load increase. Recommend pre-emptive load rebalancing by 6 PM.'

### Scenario 2: Meter with Repeated Abnormal Dips

- Data observed: Meter ID M-82341 (commercial consumer, Shivajinagar) shows consumption dropping from 450 kWh/day to 18 kWh/day for 9 consecutive days, then returning to normal

- System action: STL residual breaches 3-sigma threshold on day 3; Isolation Forest scores this as 94/100; peer comparison shows 3 adjacent similar-category meters averaging 420 kWh/day

- Alert output: 'Anomaly Score: 94/100. Pattern: Sustained Consumption Drop (96% below baseline). Duration: 9 days. Peer deviation: −96% vs 3 similar commercial meters. Recommended action: Physical meter inspection and connection verification. Field supervisor notified.'

## B. Glossary

| Term | Definition |
| --- | --- |
| AT&C Losses | Aggregate Technical and Commercial losses — includes transmission losses and revenue non-realisation |
| DT | Distribution Transformer — feeder-level transformer serving a cluster of consumers |
| MAPE | Mean Absolute Percentage Error — primary demand forecast accuracy metric |
| MDM | Meter Data Management system — BESCOM's existing repository for smart meter readings |
| SCADA | Supervisory Control and Data Acquisition — operational control system; not modified by this project |
| SHAP | SHapley Additive exPlanations — technique for interpreting ML model predictions per feature |
| STL | Seasonal and Trend decomposition using Loess — time-series decomposition method |
| KERC | Karnataka Electricity Regulatory Commission — regulatory authority for BESCOM |